LESSON PLAN: ME- 405 P REFRIGERATION & AIR CONDITIONING LAB

Name of the Faculty: Ganga Singh

Discipline: Mechanical Engineering

Semester: 7th Semester

Subject: ME- 405 P REFRIGERATION & AIR CONDITIONING LAB        Lesson Plan Duration: 15 weeks (from August, 2019 to November, 2019)

Work Load (Lab) per week (in hours): Lab-02Hours

| Week | Practical Day | Syllabus |
| --- | --- | --- |
| 1st | 1st | . To study the vapour compression Refrigeration System and determine its C.O.P. and draw PH and T-S diagrams. |
| 2nd | 2nd | To Study the Mechanical heat pump and find its C.O.P |
| 3rd | 3rd | To study the Air and Water heat pump and find its C.O.P |
| 4th | 4th | To study the cut- sectional models of Reciprocating and Rotary Refrigerant compressor |
| 5th | 5th | To study the various controls used in Refrigerating & Air Conditioning systems |
| 6th | 6th | To study the Ice- plant, its working cycle and determine its C.O.P and capacity |
| 7th | 7th | To study the humidification, heating, cooling and dehumidification processes and plot them on Psychrometric charts. |
| 8th | 8th | To determine the By-pass factor of Heating & Cooling coils and plot them on Psychrometric charts on different inlet conditions |
| 9th | 9th | To determine sensible heat factor of Air on re-circulated air-conditioning set up. |
| 10th | 10th | To study the chilling plant and its working cycle |
| 11th | 11th | Revision of previous experiments |
| 12th | 12th | Revision of previous experiments |
| 13th | 13th | Evolution based on performance in lab |